## Internal
Parameter Type
MONITORING (R)
COMMAND (W)
SETTING (R/W)

## Info
Name | Value | Decription
Name | datalogger_v3_main
DeviceId | 2
DownStreamQty | 3

## ParameterList
Group | Name | Parameter Type | Tag1 | Tag2 | Tag3 | Tag4 | Tag5 | Data Type | Array Size | Default Value | Modbus Addr Constraint | Description
Info | DeviceId | MONITORING (R) | [5 empty] | U16 | 1 | 2 | 0
Info | ParameterListVersion | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 1
Info | FwVersionMajor | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 2
Info | FwVersionMinor | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 3
Info | FwVersionBuild1 | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 4
Info | FwVersionBuild2 | MONITORING (R) | [5 empty] | U32 | 1 | 0 | 5
Info | SerialNo | SETTING (R/W) | eSETTING_INFO |  |  |  |  | U32 | 1 | 0 | 7
Info | HwVersionMajor | SETTING (R/W) | eSETTING_INFO |  |  |  |  | U16 | 1 | 0 | 9
Info | HwVersionMinor | SETTING (R/W) | eSETTING_INFO |  |  |  |  | U16 | 1 | 0 | 10
Info | ProductionYear | SETTING (R/W) | eSETTING_INFO |  |  |  |  | U16 | 1 | 0 | 11
Info | ProductionMonth | SETTING (R/W) | eSETTING_INFO |  |  |  |  | U16 | 1 | 0 | 12
Info | ProductionDay | SETTING (R/W) | eSETTING_INFO |  |  |  |  | U16 | 1 | 0 | 13
Info | DownStreamQty | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 14
Info | DownStreamsStartAddr | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 15
Info | DownStreamsSettingSize | MONITORING (R) | [5 empty] | U16 | 1 | 0 | 16
RappBaseParameterList | MemoryRetryQty | SETTING (R/W) | eSETTING_FUNCTIONAL |  |  |  |  | U16 | 1 | 3 | 200
RappBaseParameterList | MemoryRetryDelayMs | SETTING (R/W) | eSETTING_FUNCTIONAL |  |  |  |  | U16 | 1 | 50
RappBaseParameterList | RestoreDefaultValue | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadAll | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadAllMemoryResult | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappBaseParameterList | LoadInfo | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadModbusExt | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadHardwareConfiguration | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadFunctional | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadWithForceAll | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadWithForceInfo | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadWithForceModbusExt | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadWithForceHardwareConfiguration | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | LoadWithForceFunctional | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | SaveAll | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | SaveAllMemoryResult | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappBaseParameterList | SaveInfo | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | SaveModbusExt | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | SaveHardwareConfiguration | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseParameterList | SaveFunctional | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | WatchdogTimeMs | SETTING (R/W) | eSETTING_FUNCTIONAL |  |  |  |  | U16 | 1 | 0 | 400 | 0 : Disable watchdog
RappBaseSystem | ResetSource | MONITORING (R) | [5 empty] | U16 | 1 | 0 |  | Based on i_system definition
RappBaseSystem | ResetCmd | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | DateYear | MONITORING (R) | [5 empty] | U16 | 1 | 0
RappBaseSystem | DateMonth | MONITORING (R) | [5 empty] | U16 | 1 | 0
RappBaseSystem | DateDay | MONITORING (R) | [5 empty] | U16 | 1 | 0
RappBaseSystem | ClockHour | MONITORING (R) | [5 empty] | U16 | 1 | 0
RappBaseSystem | ClockMinute | MONITORING (R) | [5 empty] | U16 | 1 | 0
RappBaseSystem | ClockSecond | MONITORING (R) | [5 empty] | U16 | 1 | 0
RappBaseSystem | DateYearConfig | SETTING (R/W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | DateMonthConfig | SETTING (R/W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | DateDayConfig | SETTING (R/W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | ClockHourConfig | SETTING (R/W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | ClockMinuteConfig | SETTING (R/W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | ClockSecondConfig | SETTING (R/W) | [5 empty] | U16 | 1 | 0
RappBaseSystem | SaveRtc | COMMAND (W) | [5 empty] | U16 | 1 | 0
RappSerialExpander | UpStreamBaudrate | SETTING (R/W) | eSETTING_FUNCTIONAL |  |  |  |  | U32 | 1 | 2000000 | 900
RappModbusSlave | ShodowHoldingRegister | MONITORING (R) | [5 empty] | U16 | 1000 | 0 | 1000
RappModbusSlave | ShodowHoldingRegisterConfig | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1000 | 0
RappModbusSlave | SlaveId | SETTING (R/W) | eSETTING_FUNCTIONAL |  |  |  |  | U16 | 1 | 1 | 4000 | ModbusExt node slave id
RappModbusExtEvents | IdentifyStatus | SETTING (R/W) | [5 empty] | U16 | 1 | 0 | 4001 | 1 : Identify Started - 0 : Identify End
RappModbusExtEvents | StreamingEnableCmd | COMMAND (W) | [5 empty] | U16 | 1 | 0 | 4002
RappModbusExtEvents | StreamingDisableCmd | COMMAND (W) | [5 empty] | U16 | 1 | 0 | 4003
RappModbusExtEvents | DownStreamBaudrate | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U32 | 1 | 10000000
RappModbusExtEvents | UpStreamReceivedFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameMismatchIdQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameBroadcastQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameErrorQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamUdpSendFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamTcpSendFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamUdpEnqueuedFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamTcpEnqueuedFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamUdpEnqueueFailedFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamTcpEnqueueFailedFrameQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameHandleExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameMemoryMapHandlerExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameMismatchIdHandlerExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameBroadcastHandlerExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameTransactionDoneHandlerExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamReceivedFrameErrorHandlerExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamUdpSendFrameHandleExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamTcpSendFrameHandleExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappModbusExtEvents | UpStreamUdpDelayBetweenFrameUs | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1 | 50
RappModbusExtEvents | UpStreamTcpDelayBetweenFrameUs | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1 | 50
RappModbusExtEvents | DownStreamsSetting | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | sDownStreamSetting | 3 | 0
RappModbusExtEvents | DownStreamStatistics | MONITORING (R) | [5 empty] | sDownStreamStatistics | 3 | 0
RappPrtlStreamer | StreamerEnable | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1 | 0
RappPrtlStreamer | StreamerExtendedHeaderEnable | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1 | 0
RappPrtlStreamer | StreamerInternalClockIntervalMs | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1 | 10
RappPrtlStreamer | StreamerPrescaler | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 1 | 19
RappPrtlStreamer | StreamerParameterIds | SETTING (R/W) | eSETTING_MODBUS_EXT |  |  |  |  | U16 | 200 | 65535
RappPrtlStreamer | StreamerIntervalUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappPrtlStreamer | StreamerFrameCounter | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappPrtlStreamer | StreamerParameterQty | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappPrtlStreamer | StreamerFrameGenerationExecutionTimeUs | MONITORING (R) | [5 empty] | U32 | 1 | 0
RappBaseBoardStartup | BoardStartupDelayMs | SETTING (R/W) | eSETTING_HW_CONFIGURATION |  |  |  |  | U16 | 1 | 50
RappBaseBoardStartup | BoardStartupRetryQty | SETTING (R/W) | eSETTING_HW_CONFIGURATION |  |  |  |  | U16 | 1 | 3
RappBaseBoardStartup | BoardStartupRetryDelayMs | SETTING (R/W) | eSETTING_HW_CONFIGURATION |  |  |  |  | U16 | 1 | 50
RappBaseBoardStartup | BoardStartupReport | MONITORING (R) | [5 empty] | sBoardStartupReport | 1 | 0

## eTag1_SettingGroup
Name | Value | Description
eSETTING_INFO | 1
eSETTING_MODBUS_EXT | 2
eSETTING_HW_CONFIGURATION | 3
eSETTING_FUNCTIONAL | 4

## sDownStreamStatistics
Name | Data Type | Array Size | Default Value | Description
ReceivedFrameQty | U32 | 1 | 0
SendFrameQty | U32 | 1 | 0
EnqueuedFrameQty | U32 | 1 | 0
EnqueueFailedFrameQty | U32 | 1 | 0
ReceivedFrameHandleExecutionTimeUs | U32 | 1 | 0
SendFrameHandleExecutionTimeUs | U32 | 1 | 0

## sDownStreamSetting
Name | Data Type | Array Size | Default Value | Description
SlaveIdMin | U16 | 1 | 0
SlaveIdMax | U16 | 1 | 0
ConnectedDeciveId | U16 | 1 | 0
ConnectedParameterListVersion | U16 | 1 | 0
ConnectedSerialNo | U32 | 1 | 0
IdentifyStatus | U16 | 1 | 0 | 1 : Identify Started - 0 : Identify End
ConnectedReadEnable | U16 | 1 | 0
ConnectedReadFreqHz | U16 | 1 | 0
ConnectedExternalSyncEnable | U16 | 1 | 0
ConnectedDataReadyEnable | U16 | 1 | 0
LoggerEnable | U16 | 1 | 0 | If required, each bit detemine enable log for each type of frame
SendToUpStreamEnable | U16 | 1 | 0 | If required, each bit detemine enable send for each type of frame
ConnectedDeviceHostMode | U16 | 1 | 0 | eConnectedDeviceHostMode
StreamerExtendedHeader | U16 | 1 | 0

## sBoardStartupReport
Name | Data Type | Array Size | Default Value | Description
OverallResult | U16 | 1 | 1
ExecutionTimeUs | U16 | 1 | 0
Wiz850io | sBoardStartupReportItem | 1 | 0

## sBoardStartupReportItem
Name | Data Type | Array Size | Default Value | Description
ConnectionResult | U16 | 1 | 1
ConnectionRetry | U16 | 1 | 0
ConnectionTimeUs | U32 | 1 | 0
ConfigResult | U16 | 1 | 1
ConfigRetry | U16 | 1 | 0
ConfigTimeUs | U32 | 1 | 0

## eConnectedDeviceHostMode
Name | Value | Description
eHOST_MODE_NORMAL | 0
eHOST_MODE_GATEWAY | 1 | ModbusExt to device protocol (for example spi) gateway